Operation & Maintenance Plans Checklist

| General Information |  |  |
| --- | --- | --- |
| Project Name: |  |  |
| Reviewed By: |  | Date: |
| PIN: | State / Federal Project No.: |  |

| Deliverable Checklist |  |  |  |  |
| --- | --- | --- | --- | --- |
| Are all the bases covered? | Yes | No | Not Applicable | Comments |
| Does the Operation and Maintenance Plan answer all the questions of who, what, where, and when concerning operation and maintenance? |  |  |  |  |
| Does the Plan identify the personnel responsible for operation and maintenance? |  |  |  |  |
| Does the Plan identify the human resources and facilities, including tools, needed for operation and maintenance? |  |  |  |  |
| Does the Plan identify funding sources for on-going operation and maintenance? |  |  |  |  |
| Does the Plan describe the operation and maintenance activities to be performed? |  |  |  |  |
| Does the Plan describe the checks to be made, and the data to be collected, for health and performance monitoring? |  |  |  |  |
| Does the Plan cover periodic reporting of system health and performance to provide feedback to management on the effectiveness of operations & maintenance? |  |  |  |  |
| Does the Plan address the training of operators and maintenance personnel? |  |  |  |  |
| Does the Plan address safety and security? |  |  |  |  |
| Does the Plan identify other documents used in operations & maintenance, such as relevant policy directives, system configuration documentation, and operating & maintenance manuals? |  |  |  |  |
| Does the Plan address system testing and configuration documentation updates [may be dealt with in a separate Configuration Management Plan], following configuration changes, repairs, and upgrades? |  |  |  |  |
| Does the Plan address preventive maintenance as well as reactive maintenance? |  |  |  |  |
| Does the Plan address expected life and end-of-life replacement or upgrade? |  |  |  |  |

Additional Comments